## Database
type_id	model_id	function_id	order_code	serial_number	qty_total	qty_available_for_borrow	qty_borrowed	qty_balance	lab_location	manuf_password	asset_number	has_display	is_available_for_borrow	comments	photo	is_inspected	calibration_expiration	qr_url
IED	650	Feeder	F650MXDF2G1HI6E HW05	82068501	1	1	0	1	A1.3		187
IED	650	Feeder	F650MXDF2G1HI6E	82068502	1	1	0	1	A1.3		227
IED	650	Feeder	F650BFDF2G1HI6 HW02	81094205	1	1	0	1	A1.2		241			Defeito na Placa de Rede
IED	650	Feeder	F650BFBF1G0HI HW02	81094401	1	1	0	1	A1.3		298
IED	650	Feeder	F650MAMF2G1HIR6E	82490502	1	1	0	1	A1.2		NA
IED	650	Feeder	F650MACF1G1HIR	80132913	1	1	0	1	A1.2		1605			Muito Antigo - Sem Placas
IED	SR3XX	Feeder	350-EP5G5HEMCW5EDN	BL0A16002600	1	1	0	1	A4.2
IED	8 SERIES	Transformer	RELE 850	NA	1	1	0	1	A1.1		176			Defeito Porta Ethernet
IED	8 SERIES	Feeder	850-EP5NNS5HNNAANGAPCC2ESWAN	MJ2A14000061	1	1	0	1	A1.1		294
IED	8 SERIES	Feeder	850-EP5NNS5HNNAANGAPCC2ESWAN	MJ2A14000062	1	1	0	1	A1.1		295
IED	8 SERIES	Transformer	845EP5H5G5HRNALAGAPFM2ESWAN-FA	MJ1A16000237	1	1	0	1	A1.1		933
IED	8 SERIES	Generator	889EP5P5G5HRNALAGAPFA2ESWAN-FA	MJ4A16000051	1	1	0	1	A1.1		936
IED	P44X	Line	P443318B4M0540K	30073700	1	1	0	1	A9.3					V
IED	P74X	Busbar	P74791AB6M0030K	33274627	1	1	0	1	A9.1					V
IED	P74X	Busbar	P74791AB6M0030K	33274626	1	1	0	1	A9.2					V
IED	P74X	Busbar	P74331JA6M0510K	32007454	1	1	0	1	A9.2					V - Faltam Placas
IED	P74X	Busbar	P74131JA6M0510K	32069079	1	1	0	1	A9.3					V - Faltam Placas
IED	P40	Feeder	P14DL11D4C6540A	33244655	1	1	0	1	A9.1					V
IED	P40	Feeder	P14DG11D4C6500A	32335578	1	1	0	1	A9.1					V
IED	P40	Feeder	P94VB11A4B6500A	32664611	1	1	0	1	A9.1					V
IED	RA33X	Mesurement and Recording	RA331 PN:P031-B111BX/4	140575	1	1	0	1	A7.2
IED	239	Motor	239-RTD-AN	E6490304	1	1	0	1	A3.2		97
IED	239	Motor	239-RTD-AN	E6480954	1	1	0	1	A3.2		98
IED	239	Motor	239-RTD-AN	E6490280	1	1	0	1	A3.2		99
IED	239	Motor	239-RTD-AN	E6470702	1	1	0	1	A3.2		100
IED	269	Motor	269PLUS-100P-HI	E5240614	1	1	0	1	A3.2		138
IED	SR3XX	Motor	369-HI-R-0-0-D-0-E	M53C10001447	1	1	0	1	A3.1		125
IED	SR3XX	Motor	369-HI-R-0-0-P-H-E	M53C11002748	1	1	0	1	A3.2		146
IED	SR3XX	Motor	369-HI-R-0-0-P-H-E	M53C11002746	1	1	0	1	A3.1		184
IED	SR3XX	Motor	339EP5G5HRSNP3EDN	ML2A16000328	1	1	0	1	A3.1		NA
IED	SR4XX	Generator	489-P5-LO-A20-E	B3280563	1	1	0	1	A1.3		108
IED	SR4XX	Motor	469-P5-HI-A20-E	B3071104	1	1	0	1	A3.2		109
IED	SR4XX	Generator	489-P1-HI-A20-E	NA	1	1	0	1	A3.2		168
IED	SR4XX	Motor	469-P5-HI-A20-E-H	B3001747	1	1	0	1	A1.3		172
IED	SR7XX	Feeder	735-5-5-HI-485	NA	1	1	0	1	A3.3		105
IED	SR7XX	Feeder	750-P5-G5-S1-HI-A20-R-E-H		1	1	0	1	A3.3		171
IED	SR7XX	Transformer	745-W3-P5-G5-HI-A-R-E	NA	1	1	0	1	A3.3		173
IED	D20	Card	D20 SZ - Power Supply 5070103/5170249	D20ASYS-003173	1	1	0	1	A5.1		204
IED	D20	Card	D20 SHV2 WESDAC	NA	1	1	0	1	A5.3		235
IED	D20	Card	D20 SHV2 WESDAC	NA	1	1	0	1	A5.3		236
IED	D20	Card	D20 SZ - Power Supply 5070103/5170249	D20SSYS-008278	1	1	0	1	A5.2		237
IED	D20	Gateway	D20 MX CHASSIS - 9533061	D20MX SYS000042	1	1	0	1	A5.4		381
IED	D25	Bay Controler	D25	D25G4-001284	1	1	0	1	A5.1		NA
IED	D25	Bay Controler	D25	D25SYS-005887	1	1	0	1	A5.2		NA
SWITCH	SWITCH	Comunication	ML2400-F-HI-XX-A2-A2-A2-A2-H	MM3A60080025	1	1	0	1	A7.1		122			Testar se funciona - Switch aberto
SWITCH	SWITCH	Comunication	T100PRN1AAAAAAP	T10000024	1	1	0	1	A7.1		3581			T1000
IED	BRICK	Merging Unit	BRICK-4-HI-CV50	M84A08000028	1	1	0	1	A7.1		878			Faltam tampas
IED	BRICK	Merging Unit	BRICK-4-HI-CV10	M84A08000037	1	1	0	1	A7.1		879
IED	SPM (MOTOR)	Motor	SPM	NA	1	1	0	1	A3.1		183
IED	SR7XX	Feeder	750-P5-G5-S1-HI-A20-R-E-H		1	1	0	1	A3.3		111
IED	MU320	Merging Unit	MU320	185899	1	1	0	1	A9.1		03360			V - Patrimônio REASON
IED	P14X	Feeder	P14DL16A6C0530A	33181666	1	1	0	1	A9.1		NA			V
IED	P40	Feeder	P94VP11A4B6500A	32361728	1	1	0	1	A9.2		NA			V
IED	P40	Feeder	P14DL11D4C6540A	33244656	1	1	0	1	A9.1		NA			V
IED	P40	Feeder	P74391JA6M0510K	33945006	1	1	0	1	A9.1		NA			V
IED	P44X	Line	P34531JF6M0360K	32056838	1	1	0	1	A9.3		NA			V
IED	650	Feeder	F650BADF1G1HI6E	82936904	1	1	0	1	A1.3		NA
SWITCH	SWITCH	Comunication	S202033PKIHXX04BL	200965	1	1	0	1	A7.1		NA
IED	RPV	Processing unit	RPV-311	125798	1	1	0	1	A7.2		NA
IED	P40	Feeder	P54681CA6M0760M	33628683	1	1	0	1	A9.4		NA
IED	P40	Feeder	P54681GA6M0760M	33628678	1	1	0	1	A9.4		NA
IED	UR	Line	D60	AABC16001573	1	1	0	1	A2.1	1371275264	N/A
IED	UR	Motor	M60N00HKHF8NH6HM8MP6UU5CW5C	A3K12000798	1	1	0	1	A2.2
IED	UR	Bay Controler	C60E00HCHF8FH6TM6UPXXUXXWXX	AA8C04000144	1	1	0	1	A2.3		165			Só Carcaça (Não encontrados módulos)
IED	UR	Transformer	T60	ABHC04000436	1	1	0	1	A2.3		116			Só Carcaça sem frontal
IED	UR	Line	D90P-HE-AE04UDS-XHXAABCX1X	CXP108000053	1	1	0	1	A4.3		255
IED	650	Feeder	F650BADF1G1HI6E	82887901	1	1	0	1
IED	P14X	Feeder	P14231GDM0510J	LAB1	1	1	0	1
SWITCH	SWITCH	Comunication	H352-V2	12015T0029	1	1	0	1	A7.1		NA
IED	SR3XX	Motor	369-HI-R-0-0-P-H-E	M53C11002747	1	1	0	1	A3.1		145			CSN - RJ
SWITCH	SWITCH	Comunication	S202033PKIHXX04BL	200943	1	1	0	1	A7.1		NA			Homologação
IED	UR	Line	D60G00HCHF8FH6EMXXPXXUXXW73	AABC04000199	1	1	0	1			113			WF 176035632
IED	UR	Motor	M60N00HKHF8NH6HM8MP6UU5CW5C	AB2C12000022	1	1	0	1	A2.2		164
IED	UR	Line	D60	AABC04000578	1	1	0	1			166			GE Florianópolis - -Só Carcaça
IED	UR	Line	D60K05HKHF8LH6DM8LP6DU4LW4L	A3KC11004250	1	1	0	1			307
IED	650	Feeder	F650BFDF2G1HI6	81256401	1	1	0	1			121
IED	650	Feeder	F650BFDF2G1HI6	81094206	1	1	0	1			126			GE Florianópolis
IED	650	Feeder	F650MXDF2G1HI6E	82068505	1	1	0	1			186
IED	P64X	Transformer	P64382GD6M0060M	33630648	1	1	0	1
IED	MU320	Merging Unit	MU320	SN	1	1	0	1						Faltam Componentes
IED	239	Motor	239-RTD-AN	E6490309	1	1	0	1			96			GE Florianópolis
IED	SR3XX	Motor	369-HI-R-0-0-D-0-E	M53C10001446	1	1	0	1			124			GE Florianópolis
IED	SR3XX	Motor	339EP5G5LESNP2EDN	ML2A16000164	1	1	0	1			938
IED	SR4XX	Motor	469-P5-HI-A20-E	NA	1	1	0	1			106
IED	SR7XX	Transformer	745-W2-P5-G5-HI-E	E33008900	1	1	0	1			104			GE Florianópolis
IED	C650	Bay Controler	C650CNJF1G1HI6E1145	82.641.301	1	1	0	1			NA			CHESF Treinamento em 28.09.18
SWITCH	SWITCH	Comunication	S202033PKIHXX04BL	200946	1	1	0	1			NA
Test Box	356 Sample Values	Test Set		EH311J	1	1	0	1
Test Box	356 Sample Values	Test Set		DF054F	1	1	0	1
Test Box	356 Advanced	Test Set		HE097P	1	1	0	1
Test Box	356 Advanced	Test Set		EH314J	1	1	0	1
Test Box	356 Advanced	Test Set		FK560L	1	1	0	1
Test Box	356 Advanced	Test Set		HE125P	1	1	0	1
Test Box	356 Advanced	Test Set		EH315J	1	1	0	1
Test Box	256	Test Set		QF496R	1	1	0	1
Test Box GPS	Modelo Antigo	Test Set		MJ460B	1	1	0	1
Test Box GPS	Modelo Antigo	Test Set		PL064C	1	1	0	1
Test Box GPS	Modelo Antigo	Test Set		PL024C	1	1	0	1
Test Box GPS	Modelo Novo	Test Set		CJ314P	1	1	0	1
Test Box GPS	Modelo Novo	Test Set		CF220P	1	1	0	1
Test Box IRIGB	Parte do GPS MJ460B	Test Set		CL298B	1	1	0	1
UR Module	SH	SOURCE		ASHC16015423	1	1	0	1	A2.1		N/A
UR Module	RH	SOURCE		ARHC13017509	1	1	0	1	A2.1		306
UR Module	SH	SOURCE		ASHC16003109	1	1	0	1	A2.1		NA			Está com falha
UR Module	RH	SOURCE		ARHC12001679	1	1	0	1	A2.1		N/A
UR Module	RH	SOURCE		ARHC11001938	1	1	0	1	A2.1		N/A			M60 -> SN: 0967
UR Module	9K	CPU		A9KC08000431	1	1	0	1	A2.1		71
UR Module	9T	CPU		A9TC13001720	1	1	0	1	A2.1		305
UR Module	9K	CPU		A9KC11000297	1	1	0	1	A2.1		366
UR Module	9D	CPU		A9DC01001172	1	1	0	1	A2.1		N/A
UR Module	9U	CPU		A9UC16003319	1	1	0	1	A2.1		NA
UR Module	9U	CPU		A9UC16003320	1	1	0	1	A2.1		NA
UR Module	9U	CPU		A9UC16005760	1	1	0	1	A2.1		NA
UR Module	9U	CPU		A9UC16003425	1	1	0	1	A2.1		NA			L90
UR Module	9K	CPU		A9KC08000428	1	1	0	1	A2.1		70
UR Module	9K	CPU		A9KC09001189	1	1	0	1	A2.1		N/A
UR Module	9K	CPU		A9KC11001441	1	1	0	1	A2.1		N/A			D60 - > SN: 4250
UR Module	6T	I/O DIGITAL		A6TC14000979	1	1	0	1	A2.1		N/A
UR Module	6H	I/O DIGITAL		A6HC08000566	1	1	0	1	A2.1		279
UR Module	6R	I/O DIGITAL		A6RC11000006	1	1	0	1	A2.1		343
UR Module	6L	I/O DIGITAL		A6LC09001540	1	1	0	1	A2.1		290
UR Module	6L	I/O DIGITAL		A6LC16003254	1	1	0	1	A2.1		N/A
UR Module	6R	I/O DIGITAL		A6RC11000005	1	1	0	1	A2.1		281
UR Module	6D	I/O DIGITAL		A6DC11004521	1	1	0	1	A2.1		NA
UR Module	6U	I/O DIGITAL		A6UC12000058	1	1	0	1	A2.1		N/A
UR Module	6H	I/O DIGITAL		A6HC13000202	1	1	0	1	A2.1		N/A
UR Module	6U	I/O DIGITAL		A6UC11002761	1	1	0	1	A2.1		N/A
UR Module	6H	I/O DIGITAL		A6HC11000561	1	1	0	1	A2.1		N/A
UR Module	6C	I/O DIGITAL		A6CC11003182	1	1	0	1	A2.1		N/A
UR Module	6U	I/O DIGITAL		A6UC04014013	1	1	0	1	A2.1		N/A
UR Module	6T	I/O DIGITAL		A6TC14000807	1	1	0	1	A2.1		N/A
UR Module	67	I/O DIGITAL		A67C11004558	1	1	0	1	A2.1		369
UR Module	6D	I/O DIGITAL		A6DC11002866	1	1	0	1	A2.1		NA			D60 - > SN4250
UR Module	6T	I/O DIGITAL		A6CT16001743	1	1	0	1	A2.1		NA
UR Module	6D	I/O DIGITAL		A6TC16005488	1	1	0	1	A2.1		NA
UR Module	5C	I/O TRANSDUCER		A5CC02003287	1	1	0	1	A2.1		282
UR Module	5A	I/O TRANSDUCER		A5AC04013687	1	1	0	1	A2.1		283
UR Module	5C	I/O TRANSDUCER		A5CC04017841	1	1	0	1	A2.1		287
UR Module	5A	I/O TRANSDUCER		A5AC04013686	1	1	0	1	A2.1		289
UR Module	5F	I/O TRANSDUCER		A5FC160000525	1	1	0	1	A2.1		N/A
UR Module	5C	I/O TRANSDUCER		A5CC11000042	1	1	0	1	A2.1		N/A
UR Module	5C	I/O TRANSDUCER		A5CC12000049	1	1	0	1	A2.1		N/A
UR Module	5C	I/O TRANSDUCER		A5CC12000052	1	1	0	1	A2.1		N/A
UR Module	7K	COMM		A7KC11000159	1	1	0	1	A2.1		N/A
UR Module	7B	COMM		A7BC16000112	1	1	0	1	A2.1		N/A
UR Module	76	COMM		A76D16000251	1	1	0	1	A2.1		NA
UR Module	8Z	CT/VT		A8ZC03002216	1	1	0	1	A2.1		276
UR Module	8F	CT/VT		A8FC04005935	1	1	0	1	A2.1		365
UR Module	8H	CT/VT		A8HC04005959	1	1	0	1	A2.1		367
UR Module	8A	CT/VT		A8AC05010122	1	1	0	1	A2.1		N/A
UR Module	8M	CT/VT		A8MC10001110	1	1	0	1	A2.1		N/A
UR Module	8N	CT/VT		A8NC08000345	1	1	0	1	A2.1		335
UR Module	8N	CT/VT		A8NC16006734	1	1	0	1	A2.1
UR Module	8N	CT/VT		A8NC16006540	1	1	0	1	A2.1
UR Module	8N	CT/VT		A8NC16004142	1	1	0	1	A2.1		NA
UR Module	8N	CT/VT		A8NC16004188	1	1	0	1	A2.1		NA
UR Module	8N	CT/VT		A8NC16004123	1	1	0	1	A2.1		NA
UR Module	8L	CT/VT		A8LC15008582	1	1	0	1	A2.1					Testar, apresenta defeito
UR Module	8N	CT/VT		A8NC16006685	1	1	0	1	A2.1		N/A			M60 -> SN: 0967
UR Module	8F	CT/VT		A8FC04005936	1	1	0	1	A2.1		N/A
UR Module	81	PROCESS CARD		M81A08000018	1	1	0	1	A2.1		275
UR Module	RH	SOURCE			1	1	0	1			278			GE Florianópolis
UR Module	1H	SOURCE			1	1	0	1			N/A			06/02/2018
UR Module	8F	CT/VT			1	1	0	1			N/A			06/02/2018
UR Module	8L	CT/VT		A8LC13016277	1	1	0	1			302			GE Florianópolis
UR Module	9K	CPU			1	1	0	1			N/A			03/05/2018
UR Module	9G	CPU			1	1	0	1			N/A			06/02/2018
UR Module	9T	CPU			1	1	0	1			301			27/02/2018
UR Module	6D	I/O DIGITAL			1	1	0	1			N/A			03/05/2018
UR Module	4L	I/O DIGITAL			1	1	0	1			N/A			GE Florianópolis
UR Module	7H	COMM		A7HC16001005	1	1	0	1			N/A
UR Module	7H	COMM		A7HC16000943	1	1	0	1			N/A